6/17/2026

Buildings & Grounds

Members in attendance: Diane Smith, Tina Dearstyne, Jason Hamilton, Randy Smith, Craig Hansen, Dave Conkey, Doug Weaver, Sylvia Weaver. Greg Rowland, Ruth McCuin, Sara Petersen, Mark StJaques and Mike Okonski.

Sara went over the project list for 2026.

Actions on committee:

New hot water heater for carnival bathroom. $600 50 gal electric or $1500 for an on demand. Committee recommended purchasing electric heater. Need board approval.

Replace Pex tool ($599)  and Pro Press($2835). Committee recommended to move forward and purchase.

Craig would like to purchase more water meters for barns 4 -7, the campgrounds and horse area to get more accurate flow rates. Craig to get quotes.

Discussion held about selling the Subaru, found the title and manual. Committee recommended to move forward with selling but not sure of prior discussion on the selling price is appropriate.

In progress:

National Grid lighting incentive. In progress. Getting lift to replace existing old lights.

3000 gal grease trap tank behind grandstand. Just got DOH approval, will be complete by end of June.

Storm water dry well by rabbit tent. DOH approved, will be completed by end of June.

PA upgrades discussed. Sara/Craig will follow up with the gentlemen we hired previously to diagnose our problem locations and see if he still has that information (Tom Lansing). In progress.

Installation of 2 Verkada bullet cameras. Tim Hardy to help. In Progress.

Poultry barn painting. In Progress.

Horse arena footing, more to be added.

Wash rack hose/nozzle replacement. Craig to get an experienced person to recalibrate the pump system and get a quote for a new pump for 2027.

Track stage flooring being evaluated to see what needs to be replaced.

Sheep/Goat Barn roof issues. Caulk screws when we get the lift.

Completed projects:

Barn Tarps. Installed.

Parking Lot building: Maintenance part is complete, Community service or volunteers to paint the floor.

Electrical Upgrade Between 4H food booth and commercial building. Pole placed, panel installed and completed.

Boys dorm: Fire alarm rewired.

Boys dorm: sheet rock is up and painted.

Gate C Rehab: floor improvements and painting.

Horse arena: Sprinkler system completed.

Old Agway Building is painted.

Track stairs are painted.

Museum signs are up.

Central baths carpentry work is completed.

Bleachers have been power washed.

Dorm hot water is repaired.

10 loads of sand have been added to barn 4 and between cattle barns.

Stone dust added to white gate area.

Ag center, sheep/goat and youth buildings holes in roofs repaired.

Ground leveling by caboose stage. Shoulder stone installed, top soil completed and seeded for grass.

Leaking expansion tank in water shed replaced.

Ag center wash rack: craig modified and repaired the trough.

Pavement patching complete.

Picnioc table repairs, complete.

Meeting room speaker system, completed.

Commercial Barn #21 gutter install, completed.

Low Priority/Hold to after fair:

3 Dry wells for each side of commercial building. DOH approved will proceed after fair.

Girls dorm bathroom rehab (new showers and paint). Will do after fair/winter. Get a quote and check with extension for possible assistance.

Relocation of existing drywell in  front of Ag center to west side of barn 3. Wait until after fair. Soil and water to assist with possible grant.

Misc:

Bova/septic update:

All information has been sent to DEC. Need to see what Dec rules are on length of time to start and after approval. Need to figure out how this project will be funded.

Discussion held about running new water line to Ag center from the tank. Can it wait until 2027?

Craig working on solution for water issued around cow barns.

Can not use the old bleechers we got from Greenwich school without engineered plans. Having difficulty finding someone to get a set of plans.

Mack Truck: At Wilton Service Center getting 10 tires replaced and DOT inspected.